## Slide 1
Quality Events
Description | July | August | September | October | November | Total Qty (Nos)
Line Clearance -Approved | 670 | 690 | 338 | 249 | 517 | 2464
Line Clearance - Not Approved | 0 | 11 | 06 | 04 | 08 | 29
Line Closure- Approved | 653 | 673 | 385 | 243 | 505 | 2459
Line Closure- Not Approved | 0 | 08 | 06 | 05 | 10 | 29
Line Reverification - Approved | 515 | 993 | 975 | 883 | 1055 | 4421
Line Reverification - Not Approved | 0 | 12 | 06 | 07 | 09 | 34
Line Verification - Approved | 1023 | 1201 | 1256 | 1318 | 1392 | 6190
Line Verification - Not Approved | 0 | 0 | 0 | 0 | 01 | 01

## Slide 2
Quality Events
Incident data from Jan-2025 To Nov-2025 |  |  |  | 
Sr No | Month | Minor | Major | Critical
01 | Jan-25 | 7 | 0 | 0
02 | Feb-25 | 12 | 03 | 0
03 | Mar-25 | 20 | 01 | 01
04 | Apr-25 | 04 | 0 | 0
05 | May-25 | 06 | 01 | 0
06 | Jun-25 | 01 | 0 | 0
07 | Jul-25 | 01 | 0 | 0
08 | Aug-25 | 04 | 0 | 0
09 | Sep-25 | 7 | 02 | 0
10 | Oct-25 | 05 | 0 | 0
11 | Nov-25 | 06 | 0 | 0

## Slide 3
Quality Events
New Process Implementation
Work instructions in the production floor
Re-Work area implemented (Line-Wise)
Particle count testing
The line-wise color labeling has been implemented.
In the QR pasting activity, segregation has been done to prevent cartridge mix-up.
The pictorial representation has been implemented.
Change control tracking sheet.
QR scanning software has to introduced to ensure proper line-wise identification and to eliminate cartridge/mould mix-up. (Not yet introduced in system).